# The General Purpose Power System Simulator MODES

### Karel Máslo, PhD.

### Author can be contacted by e:mail maslo@ceps.cz

### Introduction

Power system simulators make possible to analyse the dynamic behaviour of the complex power system affected by some "faults" from the network side. They have wide range of using for:

- education purpose

- training of power plant operators and system dispatchers

- design and testing of power system equipment and system

- operation and expansion (develop) planning

- different types of studies (in frame of interconnection, defence and restoration plans etc.)

- off - line and on - line security assessments

This paper presents using of a software package for the above mentioned purposes. This package named MODES consists of the following tools for:

- load flow calculation (Standard edition)

- dynamic calculation named MODES (Standard edition)

- user interface named MODMAN (Standard edition)

- short circuit calculation named SCCALC (Professional edition)

- operation scheduling named MOPES (Professional edition).

The following description deals with the MODES. The MODES makes possible to simulate:

1.	transient stability of generators (loss of synchronism)

2.	middle-term dynamics concerned with the primary control of  frequency (frequency collapse)

3.	long term stability concerned with LFC , OLTC and the excitation limiter  actions (voltage  collapse)

- transient phenomena in home consumption of the units (driven start-up, switching over to back-up)

- unsymmetrical faults (short circuits, line opening) with phase values calculation

- steady state stability - investigation of the power system for a small deviation  (oscillations)

### Object oriented design

The MODES library contains all usual models for network, generators, prime movers and excitation systems, asynchronous motors, loads and so on. Besides it contains special control models as LFC, four stages load frequency shedding and OLTC.  The conceptual model is in the following figure.

The unit model contains models of:

Fig.  1 The conceptual Model of Power System

- several types of synchronous generator (like Parks or infinity bus models)

- several types of asynchronous motor (single and double cage with saturation)

- excitation (like IEEE DC, AC and ST models) with regulators (including PSS and under/over excitation limiters)

- prime mover (like steam, hydro and gas turbine and diesel engine) with regulators (power/pressure/speed control).

The typical parameters for these models are in catalogues, which are delivered.

An abstract models of  an automatics and a logic are there on top of it. The automaton performs some action, when some predefined criteria are realised. The logic performs some action too, but on the base logical conditions of some automaton activities. Automata and logics make possible create customer control models (relays, protection).  The simple scheme some logic is depicted here.

Fig.  2 Scheme of the general purpose automatics

### Input data and improved data management

The MODES uses three dimensional data model, which is depicted in the following figure. The input data consist of:

- Load flow data (so called variants)

- Control equipment data

- Dynamic model data (so called modifications)

- Program function data (so called variations).

The network input data is in the MODES or the PSS/E (PTI) data format for off-line operation. Some software can create the input data for MODES directly (the Graphical Load Flow Programme).  The data for dynamic models are collected in so called catalogues, and user can choose the suit set of input data or create own. The basic or extended catalogues are part of the software supply. The basic power system model contains the network objects like branches (lines and transformers), nodes (with the loads) and units. These objects can be subjected actions from the implemented models (see Fig. 1), provided by a scenario (predefined time sequence of actions) or by user (during the simulation).

Fig.  3 Three dimensional data model

The user interface (called MODMAN)  manages two levels of input data: projects and  cases. Projects are set of cases, which collect parameters catalogues, number of load flow calculations, different unit commitments, model databases and variants of input files.  Cases collects one set of load flow, unit commitment, model modification and variants. Examples of projects are delivered as well.

Beside this the MODMAN makes possible:

- access to input and output data (saved in ASCII files)

- to run the programs  of package by menu and buttons

- on-line help.

### Stand alone application or dynamic linked library (DLL)

The MODES is available in the two form. The first is usual application exactly the package of applications, include the user friendly interface MODMAN (to manage input/output data - so called projects and cases, different auxiliary and additional programs, provide on-line and context sensitive help).

The second form of MODES is a DLL, which is able linking with arbitrary program supporting the DLL in the Microsoft WINDOWS environment. The possibility of the reference to the MODES application is added to the standard MODES models. The necessary interface function for data exchange between applications are developed as well. The DLL form makes possible to implement MODES to the user complex application like energy management system, dispatcher training simulators, security tools and so on.

Fig.  4 The MODES applications overview

The underlined applications are under operation and the others are developed or under consideration.

The Security Assessment identifies transient stability problems due to network contingencies. The Network Simulator  is a decision aided tool for network operators. It can check possible transactions in  the network to prevent thermal overloading, voltage and frequency collapses. The Integrated Network Tool makes possible co-ordination between the electric and thermal networks (power system and district heating systems) by co-generation units regulation.

The aforementioned three applications used real-time data from EMS. The time ranges are several seconds for short term dynamics, minutes for long term dynamics and several hours for operation.

### Using and Services

Standard licence  2000 US$  for a standard package includes (see the MODES Software Prices):

- the multi-user rights of use at one site (e.g. company)

- one year hot line access

- one year free of charge debugging of  software errors

- one day on site training

- regularly update for 10% of the standard license fee.

Additional training at user’s site is possible for 100 US$/day and reimbursement of traveling and accommodation cost.

The using of package for education and research purposes is free of charge.

### Conclusion

The MODES package or DLL can serve as important tool for power system design, planning and operation. It can significantly improve the engineer work by using the uniform database for different type of simulations and analysing the results automatically. It help to understand the physical phenomena in the large complex power system in depth and wide. and to solve the technical challenges.

the MODES Software Prices (version 2.2/6)

| Service \ Package Description \Content | Licence Fee | MODES | Tools | User Interface for Windows | Load Flow | Parameter Catalogues Automatics, Scenarios |
| --- | --- | --- | --- | --- | --- | --- |
| Hot-line: 1 year Maintenance: 1 year Training: 1 day Standard | 2000 US$ | Yes | No | Yes | Yes | Only standard |
| Hot-line: 2 year Maintenance: 2 years Training: 5 day Professional | 3000 US$ | Yes | Yes | #### Yes | Yes | Extended |

Hot-line:  when you need assistance with the MODES software -use the e:mail

Maintenance: correction the non-conformance of the software to published specifications and to the documentation provided with software when used as specified in such documentation.

Training: basic information about software and methods of dynamic simulation, installation is included; travel time and direct travel and living expenses incurred for installation and training are additional.

Subsequent annual maintenance, upgrade and support services are offered for 10% of the current list price .

Load flow: the additional software for the initial load flow solving, it uses the same input files as the MODES and it creates automatically the templates of the MODES input.

Tools: the auxiliary programs which extend possibilities of the program and make the work easier; transformation data from the PSS/E  format to the MODES input files. Short circuit calculation, Network reduction (Equivalents).

Parameters catalogue:  the typical parameters of the generators, excitation and prime mover systems (include controllers), and load models used in the CENTREL power system or created

Automatics patterns: ready to use input data for the different types of automaton and relays

Scenario patterns: ready to use input data for different types of events in the power systems (faults, dispatcher actions on the power plant, substation and control  centre levels and so on).

Praha 6. September 2001						   Karel Máslo, PhD

Kamenická 167

25262 HOROMĚŘICE

Czech Republic

E-mail: maslo@ceps.cz